## Disclaimer
Disclaimer The Better Buildings Building Science Calculator is provided "as is", "with all faults” and without any warranties or support. Better Buildings makes no representations or warranties of any kind concerning the safety, suitability, lack of viruses, inaccuracies, typographical errors, or other harmful components of this calculator. There are inherent dangers in the use of any software, and you are solely responsible for determining whether this is compatible with your equipment and other software installed on your equipment. Better Buildings will not be liable for any damages you may suffer in connection with using, modifying, or distributing this calculator. We reserve the right to make changes without notification.

## Averaging Calculators
Enter values in the green fields to calculate the weighted average of up to 3 components.
R-Value - Weighted Average |  |  |  | Ceiling Height - Weighted Average
Column A | Column B |  |  | Column A | Column B
Building Component 1 R-value | Building Component 1 Area | Building Component 1 UA |  | 1st Ceiling Height | Floor Area | Building Area 1 Volume
30 | 95 | 3.1667 | Weighted Average R-value | 8 | 1200 | 9600 | Weighted Avg. Ceiling Height
|  |  | 6.383 |  |  |  | 10
Building Component 2 R-value | Building Component 2 Area | Building Component 2 UA |  | 2nd Ceiling Height | Floor Area | Building Area 2 Volume
0 | 5 | 12.5 |  | 12 | 900 | 10800
Building Component 3 R-value | Building Component 3 Area | Building Component 3 UA | Cavity U-Factor | 3rd Ceiling Height | Floor Area | Building Area 3 Volume | Average Ceiling Height
|  | 0 | 0.15667 |  |  | 0 | 9.7143
Instructions - R-value |  |  |  | Instructions - Ceiling Height
Use the Insulation De-rate calculator to determine batt insulation R-values to use above |  |  |  | Enter ceiling height of each space in column A
Enter the R-value for each building component in column A |  |  |  | Enter the floor area corresponding to each ceiling height in column B
Enter the area of the corresponding space with that R-value in colum B |  |  |  | The result is the overall average ceiling height
The result is the overall weighted average R-value
AFUE - Weighted Average |  |  |  | HSPF/SEER - Weighted Average |  |  |  | Energy Factor - Weighted Average
Column A | Column B |  |  | Column A | Column B |  |  | Column A | Column B
HVAC System 1 Input | HVAC System 1 Efficiency | System Weighted Efficiency |  | HVAC System 1 Output | HVAC System 1 Efficiency | System Weighted Efficiency |  | DHW System 1 Input | DHW System 1 Energy Factor | System Weighted Energy Factor
100000 | 0.85 | 85000 | Weighted Average AFUE | 4800 | 7.5 | 36000 | Weighted Avg. HSPF or SEER | 34000 | 0.55 | 18700 | Weighted Avg. Energy Factor
|  |  | 0.87625 |  |  |  | 8.0833 |  |  |  | 0.64189
HVAC System 2 Input | HVAC System 2 Efficiency | System Weighted Efficiency | 0.87625 | HVAC System 2 Output | HVAC System 2 Efficiency | System Weighted Efficiency | 8.0833 | DHW System 2 Input | DHW System 2 Energy Factor | System Weighted Energy Factor | 0.64189
60000 | 0.92 | 55200 |  | 24000 | 8.2 | 196800 |  | 40000 | 0.72 | 28800
HVAC System 3 Input | HVAC System 3 Efficiency | System Weighted Efficiency |  | HVAC System 3 Output | HVAC System 3 Efficiency | System Weighted Efficiency |  | HVAC System 3 Input | DHW System 3 Energy Factor | System Weighted Energy Factor
|  | 0 |  |  |  | 0 |  |  |  | 0
Instructions - AFUE |  |  |  | Instructions - HSPF/SEER |  |  |  | Instructions - Energy Factor
Use the Equipment Efficiency Calculator to determine intial values to enter above |  |  |  | Use the Equipment Efficiency Calculator to determine intial values to enter above |  |  |  | Use the Equipment Efficiency Calculator to determine intial values to enter above
Enter Combustion Heating System Fuel Input (on the equipment in btus or gallons) in column A |  |  |  | Enter Heat Pump/AC size (in BTUs on the equipment) in column A |  |  |  | Enter Water Heater System Input (on the equipment) in column A
Enter the Combustion Heating System AFUE in column B |  |  |  | Enter the HSPF or SEER in column B |  |  |  | Note: System Input can be BTU's or kWh, but cannot be mixed
The result is the overall weighted average AFUE (efficiency value) |  |  |  | The result is the overall weighted average HSPF or SEER (efficiency value) |  |  |  | Enter the Energy Factor in column B
The result is the overall weighted average Energy Factor
You may need to click "Enable Editing" (above) in order for the Calculator to function properly.
Averaging Calculators
Always hit your "Enter" or "Tab" button after entering your values.

## Insulation De-rate Calculator
Choose Insulation | Fiberglass | <= click cells to choose values
Choose Type | Batt
Installation Quality | Fair
Enter Depth (inches) | 8
Calculated R-value | 15
Select or enter a value in the green cells, above. If the cell is red, skip that cell. Always start at the top. The colors may change as you change preceding cell values. Red cell values are ignored during the calculation.
Use the diagrams below to help determine the installation quality.
If there are multiple insulation depths (e.g., the blown insulation was not evenly applied or there are mulitple spaces with different amounts) use the "R-Value - Weighted Average" Averaging Calculator on the preceding tab to determine R-value.
If you cannot inspect the insulation to determine installation quality (e.g., cathedral ceiling cavities), derate the R-value assuming a fair quality installation. If you cannot inspect the wall cavity insulation, please go to the next calculator tab, "Wall Insulation Defaults", and select your region to determine the wall insulation default R-value based on the age and region of the constuction.
Good |  | Fair
|  |  |  | Good | Fair | Poor
|  |  | Measured Batt Thickness | Effective R-value (2.5 per inch) | Effective R-value (1.8 per inch) | Effective R-value (0.7 per inch)
|  |  | 0 | 0 | 0 | 0
|  |  | 1 | 3 | 2 | 1
|  |  | 2 | 5 | 4 | 1.5
|  |  | 3 | 8 | 5 | 2
|  |  | 4 | 10 | 7 | 3
|  |  | 5 | 13 | 9 | 3.5
|  |  | 6 | 15 | 11 | 4
|  |  | 7 | 18 | 13 | 5
| Poor |  | 8 | 20 | 14 | 5.5
|  |  | 9 | 23 | 16 | 6
|  |  | 10 | 25 | 18 | 7
|  |  | 11 | 28 | 20 | 8
|  |  | 12 | 30 | 22 | 8.5
R-values based on fiberglass batt insulation
You may need to click "Enable Editing" (above) in order for the Calculator to function properly.
few or no gaps
2.5% gaps
5%+ gaps
Insulation De-Rate Calculator
Click "Enter" or "Tab" after entering or changing the Depth (inches) value. Cells that change to red are irrelevant and will be ignored during the calculation.

## Wall Insulation Defaults
● These are the wall insulation default values you should use when better information is not available.
● Verify with the occupant or homeowner that the walls have not been further insulated. If so, do not use these default values.
● In the box next to "Choose Region" (below), select the region of the home being assessed.
● Use the value from the blue "Wall Construction" chart, based on the year the wall was built and the construction type.
● When two values are provided, determine if the wall is insulated: if not, choose the lower value; if yes, choose the higher value.
● These values have already been de-rated assuming a Fair quality install, and should be entered into the Scoring Tool as is for the wall insulation values.
Enter the Region number from above.
Choose Region: |  | 6 | Pacific Northwest
Wall Construction
Built Year | 2X4 | 2X6
pre-1950 | R0 | R0
1950s | R0 | R0
1960s | R0 | R0
1970s | R0 or R3 | R0 or R3
1980s | R7 | R11
1990s | R7 | R11
2000s | R7 | R11
If you save the spreadsheet after choosing your region, you will not need to choose the region again.
You may need to click "Enable Editing" (above) in order for the Calculator to function properly.
Wall Insulation Default R-Values

## Equipment Efficiency
When entering HVAC Systems data in the Scoring Tool, DO NOT USE the "Year Installed" data entry field, as it will utilize a less accurate value. Instead, select "Yes" for "Do you know the ... efficiency?" and use the tables below to determine the appropriate equipment efficiency default value. If you observe documented efficiency information from the equipment, such as the yellow "EnergyGuide" label, use the efficiency value listed on the label instead of the default value.
Air Conditioners/Heat Pump (cooling) - SEER |  | Heat Pump (air source) (heating) - HSPF
ENERGY STAR Sept 2015 to present | 15 | ENERGY STAR Sept 2015 to present | 8.5
ENERGY STAR 2006 thru Aug 2015 | 14.5 | ENERGY STAR 2006 thru Aug 2015 | 8.2
Beginning in May 2015 Standard Cooling Efficiency Minimums Became Regionally Dependent |  | 2015 or newer | 8.2
|  | 2006 to 2014 | 7.7
2015 or newer (South) | 14 | 1992 through 2005 | 7.1
2015 or newer (North) | 13 | Prior to 1992 | 6.6
2006 to 2014 | 13 | Mini-split / Ductless (All Years) | 10
1992 through 2005 | 10
Prior to 1992 | 9 | =======================>>>>>>>>>>>
Mini-split / Ductless (All Years) | 19 | Oil Furnace - AFUE |  | North
|  | Condensing | 0.9 | AK, CO, CT, ID, IL, IN, IA, KS, ME, MA, MI, MN, MO, NE, NH
Gas/Propane Furnace - AFUE |  | ENERGY STAR after Feb 2003 | 0.85 | NJ, NY, ND, OH, OR, PA, RI, SD, UT, VT, WA, WV, WI, WY
Condensing prior to 2015 | 0.9 | Retention Head Burner | 0.8
Induced Draft (All Years) | 0.82 | Conventional Burner | 0.72 | South
Natural Draft (All Years) | 0.78 |  |  | AL, AZ, AR, CA, DE, DC, FL, GA, HI, KY, LA, MD
Beginning in May 2015 Heating Efficiency Minimums for ENERGY STAR Furnaces Became Regionally Dependent |  | =======================>>>>>>>>>>> |  | MS, NV, NM, NC, OK, SC, TN, TX, VA
Oil Boiler - AFUE
North | 0.95 | ENERGY STAR after Oct 2014 | 0.87
South | 0.9 | ENERGY STAR after April 2002 | 0.85
|  | After Sept. 2012 (All except ES) | 0.84
Gas/Propane Boiler - AFUE |  | Induced Draft | 0.82
ENERGY STAR after Oct 2014 | 0.9 | Natural Draft | 0.78
ENERGY STAR after Oct 2004 | 0.85
Condensing | 0.9 | Electric Resistance Heating - AFUE
Induced Draft | 0.82 | Electric Furnace | 0.99
Natural Draft | 0.78 | Baseboard Electric | 0.99
Room or Window Air Conditioning - EER
|  | Window A/C | 9
=====================================================================
Water Heaters - Energy Factor (EF)
Gas |  | Electric
Standard Storage | 0.55 | Standard Storage | 0.92
ENERGY STAR Storage | 0.67 | ENERGY STAR Storage (rare) | 2
Tankless/On-Demand | 0.9 | Tankless/On-Demand | 1
|  | Heat pump | 2.5
Oil
Standard Storage | 0.53
There are no Energy Star standards for oil water heaters
To determine the year of manufacture from the equipment serial number, click here to go to: www.buildingcenter.org.
Ground Coupled Heat Pump (aka Ground Source or Geothermal Heat Pump)
> For heating efficiency you must enter the ARI-330 32F COP rating number, which you can determine for the specific unit by looking it up at www.ahridirectory.org (you’ll need to enter the unit’s AHRI Certified Reference Number or the unit’s model number in the search field on the website).
> For cooling efficiency you must enter the ARI-330 77F COP rating number, which you can determine for the specific unit by looking it up at www.ahridirectory.org (you’ll need to enter the unit’s AHRI Certified Reference Number or the unit’s model number in the search field on the website).
Equipment Efficiency Default Values

## Areas Calulator
This is meant to be a quick check to see if the measured foundation/floor values are internally consistent. It may not work for all houses. | [5 empty] | Run: enter the horizontal length of the room/space in the direction of the slope
Floor Area: enter the total floor area (in sq. ft.) of the room/space under the ceiling
- Choose the house type that most closely matches the house you are assessing.
- Enter all values in the green fields (below) for the appropriate house type - the calculator will provide an estimated floor area for the remaining floor.
[6 empty] | Rise | Run | Floor Area | Cathedral Ceiling Area
- If there is no unconditioned floor, enter zero in that field. | [5 empty] | 7 | 14 | 240 | 268.3282
- The calculation for the split level home (House Type 2) assumes only one floor type under each side. If the house is more complicated, you can use House Type 1 for each side.
- When using House Type 2, it does not matter which side is "side 1".
- If the ceiling/roof overlay the floors exactly, then the same values can be used for the attic/roof area fields.
House Type 1 = Floors Align one above the others
Conditioned Floor Area | Area over Unconditoned Floor | Number of floors above grade | Number of conditioned floors below grade
1850 | 400 | 2 | 1
Estimated Floor 2 Area |  | Minimum Total Roof Area
350 |  | 750
House Type 2 = Split Level - Floors do not align
Floor/Attic Area Comparison Check
Conditioned Floor Area | Side 1: Floor Area | Side 1: Number of Floors above grade | Side 1: Number of Conditioned Floors below grade | Side 2: Number of Conditioned Floors above grade | Side 2: Number of Conditioned Floors below grade | Arrow colors above align with cell colors below
3000 | 500 | 2 | 1 | 1 | 1 | Knee Wall Length | 15 | Sloped ceiling length | 15
Estimated Floor 2 Area |  |  | Minimum Total Roof Area |  |  | Knee Wall Height | 6 | Sloped ceiling height | 4
750 |  |  | 1250 |  |  | Overhead flat ceiling (attic floor) width | 10
[6 empty] | Flat ceiling (attic floor) behind knee wall width | 5
[6 empty] | Enter these values (assumes symetric layout as above) | 480 |  | 120
[7 empty] | Unconditioned Attic |  | Cathedral Ceiling Area
You may need to click "Enable Editing" (above) in order for the Calculator to function properly.
Kneewall Attic Area Calculator
Cathedral/Vaulted Ceiling Area
Roof/Floor Area Calculator
Always hit your "Enter" or "Tab" button after entering your values.
Always hit your "Enter" or "Tab" button after entering your values.
Always hit your "Enter" or "Tab" button after entering your values.

## Insul_calcs (hidden)
| Good | Fair | Poor
Measured Batt Thickness | Effective R-value (2.5 per inch) | Effective R-value (1.8 per inch) | Effective R-value (0.7 per inch) |  | Insulation | R-value |  | Insulation Type |  |  | Installation Quality | Multiplier
0 | 0 | 0 | 0 | 1 | Select | 0 |  | Select |  | 1 | Select |  |  |  | Blown
1 | 3 | 2 | 1 | 2 | Cellulose | 3.4 |  | Batt | 1 | 2 | Good | 0.82
2 | 5 | 4 | 1.5 | 3 | Fiberglass | 3.1 |  | Blown |  | 3 | Fair | 0.6
3 | 8 | 5 | 2 | 4 | Rockwool | 3.1 |  |  |  | 4 | Poor | 0.23
4 | 10 | 7 | 3 | 5 | Low density spray foam | 3.5
5 | 13 | 9 | 3.5 | 6 | High density spray foam | 6 |  |  |  |  | Chosen Quality | 3
6 | 15 | 11 | 4 | 7 | Perlite | 2.5
7 | 18 | 13 | 5 | 8 | Vermiculite | 2.2 | [5 empty] | Multiplier
8 | 20 | 14 | 5.5 | 9 | Polystyrene-large curd | 4 | [5 empty] | 0.6 |  | if fiberglass, cellulose or rockwool, must have type, if batt, must have install quality
9 | 23 | 16 | 6 | 10 | Polystyrene-small curd | 5
10 | 25 | 18 | 7 | 11 | Polyurethane | 6 | Rvalue/inch
11 | 28 | 20 | 8 | 12 | Polyisocyanurate | 6 |  |  |  |  | 3.1 | test insulation type | TRUE | TRUE
12 | 30 | 22 | 8.5 | [7 empty] | 0.6 | batt? | TRUE |  | FALSE
[11 empty] | 15 |  | FALSE
25
Cellulose | Fiberglass | Rockwool | [6 empty] | Rockwool | 3.1
Blown | Blown | Batt | [5 empty] | Choose Insulation
Batt | Batt | [6 empty] | Choose Type |  | #N/A |  |  | cfr | else
[8 empty] | Installation Quality |  |  |  | batt | TRUE
Vermiculite | Perlite | [6 empty] | Enter Depth (inches) |  |  |  | blow
#N/A
Pour | Blown
N/A

## Insul Defaults calcs (hidden)
Region |  | Region Name | Vintage | Source | 2x4 | 2x6 | Derate
[7 empty] | 2X4 | 2X6
CR02 | 2.1 | Upper Midwest | 1950s | BAFDR | R9 |  | R5 | N/A
CR02 | 2.2 | Upper Midwest | 1960s | BAFDR | R11 | R15 | R7 | R13
CR02 | 2.3 | Upper Midwest | 1970s | BAFDR | R11 | R15 | R7 | R13
CR02 | 2.4 | Upper Midwest | 1980s | BAFDR | R11 | R19 | R7 | R11
CR02 | 2.5 | Upper Midwest | 1990s | BAFDR | R11 | R19 | R7 | R11
CR02 | 2.6 | Upper Midwest | 2000s | BAFDR |  | R19 | R7 | R11
CR02 | 2.7 | Upper Midwest | pre-1950 | BAFDR | R0 or R11 | R15 | R0 or R7 | R13
CR03 | 3.1 | New England | 1950s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 | N/A | R0 | N/A
CR03 | 3.2 | New England | 1960s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 | N/A | R0 | N/A
CR03 | 3.3 | New England | 1970s | Ritschard et al. 1992, EJ, NAHB 1980s | R7 | N/A | R3 | N/A
CR03 | 3.4 | New England | 1980s | Ritschard et al. 1992, EJ, NAHB 1980s | R11 | R19 | R7 | R11
CR03 | 3.5 | New England | 1990s | HIRL 1999 Insulation and Sheathing Reports | R11 | R19 | R7 | R11
CR03 | 3.6 | New England | 2000s | HIRL 2008 Insulation and Sheathing Reports | R11 | R19 | R7 | R11
CR03 | 3.7 | New England | pre-1950 | Ritschard et al. 1992, EJ, NAHB 1980s |  |  | R0 | R0
CR04 | 4.1 | Great Lakes | 1950s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR04 | 4.2 | Great Lakes | 1960s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR04 | 4.3 | Great Lakes | 1970s | Ritschard et al. 1992, EJ, NAHB 1980s | R7 |  | R3 | R4
CR04 | 4.4 | Great Lakes | 1980s | Ritschard et al. 1992, EJ, NAHB 1980s | R11 | R19 | R7 | R11
CR04 | 4.5 | Great Lakes | 1990s | HIRL 1999 Insulation and Sheathing Reports | R11 | R15 | R7 | R8
CR04 | 4.6 | Great Lakes | 2000s | HIRL 2008 Insulation and Sheathing Reports | R11 | R17 | R7 | R9
CR04 | 4.7 | Great Lakes | pre-1950 | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR05 | 5.1 | Mountain North | 1950s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR05 | 5.2 | Mountain North | 1960s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR05 | 5.3 | Mountain North | 1970s | Ritschard et al. 1992, EJ, NAHB 1980s | R7 |  | R3 | R0
CR05 | 5.4 | Mountain North | 1980s | Ritschard et al. 1992, EJ, NAHB 1980s | R11 | R19 | R7 | R11 |  |  |  | Enter Region | 6
CR05 | 5.5 | Mountain North | 1990s | HIRL 1999 Insulation and Sheathing Reports | R11 | R19 | R7 | R11 |  |  | Construction | 2X4 | 2X6 | 2 | Upper Midwest
CR05 | 5.6 | Mountain North | 2000s | HIRL 2008 Insulation and Sheathing Reports | R11 | R19 | R7 | R11 | 7 | 6.7 | pre-1950 | R0 | R0 | 3 | New England
CR05 | 5.7 | Mountain North | pre-1950 | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0 | 1 | 6.1 | 1950s | R0 | R0 | 4 | Great Lakes
CR06 | 6.1 | Pacific Northwest | 1950s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0 | 2 | 6.2 | 1960s | R0 | R0 | 5 | Mountain North
CR06 | 6.2 | Pacific Northwest | 1960s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0 | 3 | 6.3 | 1970s | R0 or R3 | R0 or R3 | 6 | Pacific Northwest
CR06 | 6.3 | Pacific Northwest | 1970s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 or R7 |  | R0 or R3 | R0 or R3 | 4 | 6.4 | 1980s | R7 | R11 | 7 | Mid Atlantic
CR06 | 6.4 | Pacific Northwest | 1980s | Ritschard et al. 1992, EJ, NAHB 1980s | R11 |  | R7 | R11 | 5 | 6.5 | 1990s | R7 | R11 | 8 | Zone 4A
CR06 | 6.5 | Pacific Northwest | 1990s | HIRL 1999 Insulation and Sheathing Reports | R11 | R19 | R7 | R11 | 6 | 6.6 | 2000s | R7 | R11 | 9 | Southeast
CR06 | 6.6 | Pacific Northwest | 2000s | HIRL 2008 Insulation and Sheathing Reports | R11 | R19 | R7 | R11 | [5 empty] | 10 | Southwest
CR06 | 6.7 | Pacific Northwest | pre-1950 | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0 | [5 empty] | 11 | California
CR07 | 7.1 | Mid Atlantic | 1950s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR07 | 7.2 | Mid Atlantic | 1960s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR07 | 7.3 | Mid Atlantic | 1970s | Ritschard et al. 1992, EJ, NAHB 1980s | R7 |  | R3 | R3
CR07 | 7.4 | Mid Atlantic | 1980s | Ritschard et al. 1992, EJ, NAHB 1980s | R11 | R19 | R7 | R11
CR07 | 7.5 | Mid Atlantic | 1990s | HIRL 1999 Insulation and Sheathing Reports | R11 | R19 | R7 | R11
CR07 | 7.6 | Mid Atlantic | 2000s | HIRL 2008 Insulation and Sheathing Reports | R11 | R19 | R7 | R11
CR07 | 7.7 | Mid Atlantic | pre-1950 | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR08 | 8.1 | Zone 4A | 1950s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR08 | 8.2 | Zone 4A | 1960s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR08 | 8.3 | Zone 4A | 1970s | Ritschard et al. 1992, EJ, NAHB 1980s | R3 |  | R3 | R3
CR08 | 8.4 | Zone 4A | 1980s | Ritschard et al. 1992, EJ, NAHB 1980s | R11 |  | R7 | R7
CR08 | 8.5 | Zone 4A | 1990s | HIRL 1999 Insulation and Sheathing Reports | R11 | R15 | R7 | R7
CR08 | 8.6 | Zone 4A | 2000s | HIRL 2008 Insulation and Sheathing Reports | R11 | R15 | R7 | R7
CR08 | 8.7 | Zone 4A | pre-1950 | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR09 | 9.1 | Southeast | 1950s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR09 | 9.2 | Southeast | 1960s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR09 | 9.3 | Southeast | 1970s | Ritschard et al. 1992, EJ, NAHB 1980s | R3 |  | R3 | R3
CR09 | 9.4 | Southeast | 1980s | Ritschard et al. 1992, EJ, NAHB 1980s | R11 |  | R7 | R7
CR09 | 9.5 | Southeast | 1990s | HIRL 1999 Insulation and Sheathing Reports | R11 | R17 | R7 | R11
CR09 | 9.6 | Southeast | 2000s | HIRL 2008 Insulation and Sheathing Reports | R11 | R17 | R7 | R11
CR09 | 9.7 | Southeast | pre-1950 | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR10 | 10.1 | Southwest | 1950s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR10 | 10.2 | Southwest | 1960s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR10 | 10.3 | Southwest | 1970s | Ritschard et al. 1992, EJ, NAHB 1980s | R3 |  | R3 | R3
CR10 | 10.4 | Southwest | 1980s | Ritschard et al. 1992, EJ, NAHB 1980s | R11 | R19 | R7 | R11
CR10 | 10.5 | Southwest | 1990s | HIRL 1999 Insulation and Sheathing Reports | R11 | R19 | R7 | R11
CR10 | 10.6 | Southwest | 2000s | HIRL 2008 Insulation and Sheathing Reports | R11 | R19 | R7 | R11
CR10 | 10.7 | Southwest | pre-1950 | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR11 | 11.1 | California | 1950s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR11 | 11.2 | California | 1960s | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0
CR11 | 11.3 | California | 1970s | Ritschard et al. 1992, EJ, NAHB 1980s | R3 |  | R3 | R3
CR11 | 11.4 | California | 1980s | Ritschard et al. 1992, EJ, NAHB 1980s | R11 | R19 | R7 | R11
CR11 | 11.5 | California | 1990s | HIRL 1999 Insulation and Sheathing Reports | R11 | R19 | R7 | R11
CR11 | 11.6 | California | 2000s | HIRL 2008 Insulation and Sheathing Reports | R11 | R19 | R7 | R11
CR11 | 11.7 | California | pre-1950 | Ritschard et al. 1992, EJ, NAHB 1980s | R0 |  | R0 | R0